Memorandum

Date: 	September 26, 2023

To:	Ashland Planning Board

From: 	Planning Office

Re: 	9-49 Homer Ave: Teck Review Meeting

Tech Review Meeting Date: September 12, 2023 (1:30 pm)

Location: Ashland Town Hall

Attendees:

Municipal Staff

Becca Solomon, Conservation Agent

Cara Rossi, Police Chief

Doug Small, Ashland DPW Director

Rajit Gupta, Director of Board of Health

Evan White, Ashland DPW Senior Engineer

Doug Scott, Building Commissioner

Keith Robie, Fire Chief

Lyn Moraghan, Fire Deputy Chief

Peter Matchak, Town Planner

Application Team:

Terry Morris, Attorney – Legal Counsel

Ron Bourque, Project Architect

Rick Salvo, Project Civil Engineer

Third Party Review

Mike Carter, CEO GCG

Ashland municipal staff on Sep 12th met with the application team from 9-49 Homer Avenue and GCG representative Mike Carter Ashland’s third-party review. The application team gave an updated set of plans on the proposed project and then took comments from municipal department represented at the meeting summarized below:

Project overview: This project includes 29 rental apartment units with approximately 8,550 sq. ft. of ground floor, street facing retail space, and a total of 60 parking spaces. The new plan as described by Rick Salvo civil engineer of the project are the following:

- The new plans call for entrance / ingress only from Homer Avenue and exit / egress onto Alden Street. This change accommodates the need of the Fire Department when entering and increasing the site efficiently. Second, the change will not allow for exiting onto Homer Street where low / limited visibility was present thus shifting the curbing cut and making for a wider one-way entrance. This change allowed to redesign the parking layout to propose angled parking creating space for 64 spaces vs the previously proposed 60 spaces.

Municipal Comments:

Fire Dept.:

- Overall traffic flow safer an efficient compared to previous plans.

- No off-street parking on the left Alden Street when existing to site to prevent lack of visibility.

- Fire Department connection of the sprinkler within 50 ft of a hydrant.

DPW: Infrastructure

- Need to verify existing water and sewer lines.

- Provide information of sewer and water lines termination.

- No vertical installation of backflow devices for fire services.

- Sewer connection tied into manhole for future maintenance.

- Grinders on property to reduce stress on grinders in pumping stations.

- Requested information on how the site was going to respect the new downtown street scape (lighting, brick banding, and sidewalks)

Police: Parking

- New plans remove previous emergency vehicles access concerns.

Conservation: Storm Water Permit Required

- Applicant was requested to use Atlas 14 storm water data for all calculations.

- Need to show snow storage on site plan.

- Planting plan must remove non-native specimens.

Building Commissioner: Plans must meet new stretch energy code

Peter Matchak

Town Planner